## Sheet1
Paper | AKA | Link | Year | Type of diode used | Wavelengths | Microcontroller | Deployment Region | Deployment Length | Deployment success | Accuracy | Cost | Communication Type | Other notes
Photosynthetically Active Radiation (PAR) Sensor Using an Array of Light Sensors with the Integration of Data Logging for Agricultural Application | PARAgriculture | https://ieeexplore.ieee.org/abstract/document/8463321 | 2018 | Silicon photodiode with bandpass optical filter (infrared filter) | 400 - 700nm (visible light) | Arduino | Agriculture applications | No mention | No mention | Correlation of 0.99 with research grade PAR sensor | No mention |  | This system used two microcontrollers. An arduino which acted as a ADC, then an Raspberry Pi which acted as a server/PC
PARduino: a simple and inexpensive device for logging photosynthetically active radiation | PARduino | https://academic.oup.com/treephys/article/34/6/640/2338115 | 2014 | LI-COR Quantum sensor | No mention | Arduino | Theoretical | No mention | No mention | Correlation of 0.99 error industry standard datalogger Larger errors at low PAR levels | USD 685
The design and evaluation of a measurement system for photosynthetically active quantum scalar irradiance | PARQuantumScalar | https://aslopubs.onlinelibrary.wiley.com/doi/abs/10.4319/lo.1976.21.2.0326 | 1976 | Photodiodes in conjunction with teflon spheres used to diffuse light | 350-700nm |  | Ocean | [5 empty] | This system was developed in 1976, so might not be the best reference. Good theory here though, might be worth reading again
Instruments for the Measurement of Photosynthetically Active Radiation and Red, FarRed and Blue Light | PARInstruments | https://www.jstor.org/stable/2403379 | 1983 | Photoccell + optical filter (appendix) w amplifier | 400-800nm |  |  |  |  | Errors at low PAR levels
Construction and Testing of an Inexpensive PAR Sensor | PARConstruction | https://citeseerx.ist.psu.edu/document?repid=rep1&type=pdf&doi=26e76e58aa15e683a3ed5cebecb3a2b34e71d998 | 2000 | Gallium Arsenide Phosphide (GaAsP) photodiode in protective casing (diffuser for shorter wavelengths) | 400-700nm |  | Canopy |  |  | Signal drift of 3-23% from standard |  |  | Li-190 Quantum Sensor used as standard (comparison). Also very good sensor specifications in this paper
A low cost instrument for measurement of photosynthetically active radiation in field canopies | PARFieldCanopies | https://www.sciencedirect.com/science/article/abs/pii/000215717790036X | 1977
A solarimeter for measuring photosynthetically active radiation | PARSolarimeter | https://www.sciencedirect.com/science/article/abs/pii/0002157166900173 | 1966
A 5-Year Study of a New Kind of Photosynthetically Active Radiation Sensor | PAR5Year | https://onlinelibrary.wiley.com/doi/full/10.1562/0031-8655%282003%290770030AYSOAN2.0.CO2 | 2003 | blue and red LED | 400-700nm |  |  |  |  | r = 0.97 |  |  | Need to look at the spectral responses of the LEDs and compare to PAR sensors
On the Development of a Low-Cost Photosynthetically Active Radiation (PAR) Sensor | PARDevelopment | https://ieeexplore.ieee.org/abstract/document/9181220 | 2020 | Silicon photodiode with bandpass optical filter and diffuser | 400-700nm |  | Agriculture |  |  | dependent on light sensitivity | USD110 |  | This paper also describes their experimental setup, which could be useful for later.
New insights into radiative transfer within sea ice derived from autonomous optical propagation measurements | PARRadiativeTransfer | https://tc.copernicus.org/articles/15/183/2021/ | 2021 | Multispectral light sensors protectedby heat shrink tubing | 400-650nm |  | Arctic | Supposed to be for multiple months however -> | There was sensor failure after two weeks, then full failure after 4 months | slightly overestimates PAR |  | I2C, using an I2C interface chip
Measuring Photosynthetically Active Radiation with a Multi-Channel Integrated Spectral Sensor | PARSpectralSensor | https://ieeexplore.ieee.org/abstract/document/9401321 | 2021 | Spectral sensor using diffuser |  | Arduino | [6 empty] | Also speaks to experimental setup
A Novel Approach to Obtain PAR with a Multi-Channel Spectral Microsensor, Suitable for Sensor Node Integration | PARNovel | https://www.mdpi.com/1424-8220/21/10/3390 | 2021 | Multii-channel spectral sensor